HARBOR BUILD | PROJECT ALPHA 2026 | SPECIFICATION CONTROL

# Specification Deviation Log

Harbor Build | Project Alpha 2026 | Issued 2026-07-29 | CO-014 | JPY 18,600,000

Controlled register of proposed and resolved departures from the issued specification set.

# Control Register

| ID | Section | Deviation | Disposition |
| --- | --- | --- | --- |
| DEV-017 | 03 30 00 | Cold-weather curing sequence differs from baseline note. | Approved with monitoring |
| DEV-018 | 05 12 00 | Connection coating touch-up sequence revised. | Pending evidence |
| DEV-019 | 26 05 00 | Sleeve routing coordination adjustment. | Accepted clarification |

# Review Protocol

Review each item against the issued specification, coordination model, and approved written clarifications. Record disposition and due date before release.