HARBOR BUILD | PROJECT ALPHA 2026 | SPECIFICATION CONTROL

# Specification Clarifications

Harbor Build | Project Alpha 2026 | Issued 2026-07-29 | CO-014 | JPY 18,600,000

Issued clarifications for consistent interpretation; these notes do not replace contract requirements.

# Control Register

| Ref | Question | Clarification | Status |
| --- | --- | --- | --- |
| CL-021 | Does CO-014 alter insulation submittals? | No; document sequencing impact only. | Issued |
| CL-022 | How are ceiling conflicts recorded? | Log in coordination model and cite section. | Issued |
| CL-023 | May alternate gypsum board be ordered? | Requires written product review. | Open |

# Review Protocol

Review each item against the issued specification, coordination model, and approved written clarifications. Record disposition and due date before release.