# HARBOR BUILD - SUBMITTAL REVIEW COMMENT SHEET

Project Alpha 2026 | Issue 2026-07-29 | CO-014 | JPY 18,600,000

| Submittal | 033000-07 | Package | Concrete Mix Design |
| --- | --- | --- | --- |
| Revision | 02 | Disposition | Approved as noted |
| Review lead | Project controls | Required by | 2026-08-03 |
| Coordination basis | Project Alpha 2026 | Cost reference | CO-014 |

# Review comments

| ID | Comment | Closeout evidence |
| --- | --- | --- |
| C-01 | Provide 56-day strength data before the first placement release. | Revised attachment and register update |
| C-02 | Confirm batch plant delivery sequencing with the current pour plan. | Revised attachment and register update |
| C-03 | Record any mix substitution through the approved change-control route. | Revised attachment and register update |

# Reviewer decision

Approved as noted. The submittal may proceed to controlled procurement only after the listed closeout evidence is recorded in the Project Alpha register.

Synthetic internal coordination record - no site access or personal data included.