Project Beta Specification Comments

Review register for coordinated issue PB-26.07.29-C. The comments below are resolved-direction notes for the next issued package; no site access, customer data, or Project Alpha cost information is included.

# Review Direction

The package is acceptable for continued coordination once the listed owners confirm closure evidence. Items marked Open must be tracked in the next coordination agenda and reflected in the applicable technical section.

# Comment Register

| ID | Section | Comment / Required Action | Owner | Status |
| --- | --- | --- | --- | --- |
| C-01 | 01 33 00 | Add a closeout-index sample showing section, revision date, responsible trade, and receipt location. | PM / GC | Open |
| C-02 | 03 30 00 | Confirm patch acceptance record includes ambient conditions, cure method, and photo reference before finish release. | Concrete | Open |
| C-03 | 07 27 00 | Show transition membrane overlap at roof-to-wall interface and include adhesion-check evidence. | Envelope | Open |
| C-04 | 07 60 00 | Coordinate flashing sequence with drainable cladding and avoid horizontal water-collection fasteners. | Envelope | Resolved |
| C-05 | 22-26 | Add final asset-name convention to controls point list and panel directory coordination note. | MEP | Open |
| C-06 | General | Retain explicit statement that CO-014 and JPY 18,600,000 are Project Alpha context only. | PM | Resolved |

# Closeout Check

Issue a revised coordination log with each Open comment, disposition, and evidence reference.

Verify the Project Beta package has no Project Alpha budget or change-order amount carried into its procurement narrative.

Archive the final review register with the issued specifications and model issue PB-26.07.29-C.