Project Beta Submittal Review Sheet

Harbor Build | Status as of 2026-07-29 | Review cycle: 04

Review disposition

Submittal: BETA-072100-04 Mineral Wool Insulation

Recommended action: Approved as Noted. Confirm the submitted R-value and facing configuration match the issued thermal envelope schedule before procurement release.

Reviewer checklist

1. Specification section aligned: 07 21 00 Thermal Insulation

2. Product data, test summary, and sample photo received

3. Coordination required with concrete edge protection at penetrations

Routing record

Prepared for internal coordination only. No field release is authorized by this review sheet.